## Calculator
Calculation of the percentage of oxygen in the air after the evaporation of a volume of cryogenic liquid
Fill the appropriate information in the yellow boxes below - the calculated % of oxygen in displayed in the coloured box below
Room volume
Length (m) | 2
Width (m) | 3
Height (m) | 4
Room Volume m3 | 24
Cryogenic liquid in use
Expansion ratio | 682
Scenario 1 : Worst case scenario - total evaporation of the entire contents of a dewar
Volume of dewar | 25
Volume of oxygen (m3) | 1.4595
% Oxygen in air | 6.0812
Scenario 2: Reduction in the % of oxygen in the air due to normal evaporation of dewars
Total gas evaporation rate m3/hr*
Air changes per hour
% Oxygen in air | #DIV/0!
Scenario 3: Oxygen depletion during filling of a dewar
Size of largest dewar
Volume of oxygen | 5.04
% Oxygen in air | 21
Note on B17: For rooms with no mechanical ventilation =1 For basements = 0.5 Information on air-change rates for laboratories with mechanical ventilation may be available from Technical Services

## Sheet2 (hidden)
Nitrogen | 682 | 1
Argon | 822
Helium | 732